## MAIN Template
Use Case | IP21 TagName | Data Type | Record Definition | Description | Existing in IP21 | PLC Tag Updates | EngUnits | ValueFormat | Repository | PLC TAG | Prefix | OPCTag | IP_DC_SIGNIFICANCE | IP_DC_MAX_TIME_INT | IP_COMPRESSION | maximum | minimum | Low Low Limit | Low Limit | High Limit | High High Limit
Custom | YOR1C.SHL.LINE1.Feeder.Inst_Running_Rate_PV | Float | IP_Analogdef | YOR1C SHL1 Production Rate | NO | Initial Build | LBS/HR | F6.1 | TSK_DHIS_YOR1C | [SHL_BLK]CNV_46160_Data[8] | Dataservers/RSLE:: | Dataservers/RSLE::[SHL_BLK]CNV_46160_Data[8] | 1 | +000:05:00.0 | ON | 50000 | 0
Custom | YOR1C.SHL.LINE1.WIP_Order_Number | String | IP_TextDef | YOR1C SHL1 WipOrder | NO | Initial Build |  | STRING | TSK_DHIS_YOR1C | [SHL_BLK]EM_ELV_46103_ucEM.JobDetails.WIPOrderNo | Dataservers/RSLE:: | Dataservers/RSLE::[SHL_BLK]EM_ELV_46103_ucEM.JobDetails.WIPOrderNo |  | +000:30:00.0 | ON
Custom | YOR1C.Sheller1.ProductSensor | integer | IP_DiscreteDef | YOR1C SHL1 Product Sensor | NO | Initial Build | I2 | NO/YES | TSK_DHIS_YOR1C | [CIO_C_SHL1]Sheller1.inp_Product | Dataservers/RSLE:: | Dataservers/RSLE::[CIO_C_SHL1]Sheller1.inp_Product | 1 | +000:30:00.0 | ON | 2 | -1
Note on A1: Pruitt, Thomas: Use case for Tag - Unit Performance, Measurement Points Reporting, Custom
Note on B1: Pruitt, Thomas: IP21 tag name - unique, max length of 64 characters
Note on C1: Pruitt, Thomas: data type in PLC
Note on D1: Pruitt, Thomas: Record type as configured by IP21 support team
Note on E1: Pruitt, Thomas: 24 character description in IP21
Note on F1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: In case of updates
Note on G1: Pruitt, Thomas: update requests
Note on H1: Pruitt, Thomas: desired engineering units - actual eng units may utilize standard value set
Note on I1: Pruitt, Thomas: Value format or enumeration list (Select Record) as desired. Actual configuraiton may utilize standard options
Note on J1: Pruitt, Thomas: history partition for each site. IP21 team will configure according to site name.
Note on K1: Pruitt, Thomas: Tag address in PLC
Note on L1: Pruitt, Thomas: OPC Tag address prefix (topic) specific to OPC server
Note on M1: Pruitt, Thomas: tag address in OPC server and as confiugred in IP21 IO records
Note on N1: Pruitt, Thomas: compression threshold (in engineering units) to trigger historical data storage
Note on O1: Pruitt, Thomas: compression threshold (time) to trigger historical data storage
Note on P1: Pruitt, Thomas: compression choice - ON for most cases
Note on Q1: Pruitt, Thomas: default value for trends
Note on R1: Pruitt, Thomas: default value for trends
Note on S1: Pruitt, Thomas: configured only if a custom application requires it
Note on T1: Pruitt, Thomas: configured only if a custom application requires it
Note on U1: Pruitt, Thomas: configured only if a custom application requires it
Note on V1: Pruitt, Thomas: configured only if a custom application requires it